## Sheet1
SITE SAFETY/ HEALTH/ WELFARE
LOSS PREVENTION INSPECTION
REPORT
Job Detail: | 20_1009_01
Page 1 of 2 | Date: | 2020-07-09 |  | Unit 1, Cliffe Yard, Medway City Estate, Rochester, Kent, ME2 4DY
Site Address: | Victoria Coach Station |  |  | Tel: +44 (0)1634 711507 |  | Web: info@countybsltd.co.uk
164 Buckingham Palace Road |  |  |  | Site Manager
London SW1W 9T |  |  |  | Client | Ringway/Transport For London (TFL)
Site manager | Roger Stacey |  |  | Principle Contractor | Ringway
Recieved By: | Ben Killick, Sam Killick, |  |  | Signature:
Accident Summary |  |  | Priority Action
Since Previous Audit |  |  | Summary |  | No. | Points | Totals | Site Score
Category |  | Number | Priority S - DANGER- |  | 0 | 4 | 0 | Max Points
Site Hours Monthly (June) | [7 empty] | Achievable
Major Injury |  | 0 | Priority A |  | 3 | 3 | 9 | /100 = R
O/7 Day |  | 0 | IMEDIATE RECTIFICATION |  |  |  |  | Points Achieved
U/7 Day |  | 0 | Priority B |  | 0 | 2 | 0 | /R = T
Dangerous Occurence |  | 0 | RECTIFICATION WITHIN 24HRS |  |  |  |  | 100 - T =
First Aid Only |  | 0 | Priority C |  | 0 | 1 | 0
Damage/ Near Miss |  | 1 | RECTIFICATION WITHIN 72HRS
|  |  |  | TOTALS | 3 |  | 9 | Site Score
[8 empty] | 95.5 | %
Safety Planning Provisions: |  | √ - No Action Required At Present S - Stop Work A - Imediate Action Required
B - Action Required Within 24hrs C - Action Required Within 72 hours X - Not Applicable * - Other Comment
Principle Contractor Requirements Only
1.Statuary Notices & Signs |  | √ | 2.Construction H&S Plan |  | √ | 3.HASAW Poster |  |  | √
4.Welfare - Canteen/Prep. |  | √ | 5.Welfare-Drying,Changing facilities |  | √ | 6.Welfare-Toilets/Washing |  |  | √
7.Site Security/Public Protecion |  | √ | 8.Entry/Exit Procedure (Sign In/Out) |  | √ | 9.Traffic Mangement |  |  | √
10.Fire/Planning/Extinguishers |  | √ | 11.First Aid/Emergency/Accident info |  | √ | 12.Lighting |  |  | √
General Audit
1.Insurance/Test Certs |  | √ | 2.Method Statements |  | √ | 3.Risk Assessments |  |  | √
4.Method Statements-S/C |  | √ | 5.Risk Assessments-S/C |  | √ | 6. Launguage Control Measures |  |  | √
7.Induction Training |  | √ | 8.Vibration Usage Records/Info/Tags |  | √ | 9.Lift Plans |  |  | √
10.QA Documentation up to date |  | √ | 11.Environmental-Waste Control |  | √ | 12.Environmental-Animal |  |  | √
13.Electricity-Supply/Equipment |  | √ | 14.Equipment/Material-Delivery Control |  | √ | 15. Construction Material Storage |  |  | √
16.Portable Tools/P.A.Tests |  | A | 17.COSHH/Flammable Materials/Storage |  | √ | 18. Lifting Equipment Storage |  |  | √
19.WAH-Safety/Permits |  | √ | 20.Training Certification (CBS) |  | √ | 21. Training Certification (S/C) |  |  | √
22.Ladder/Scaffold Inspection |  | √ | 23.Scaffold Guardrails/Edge Protection |  | √ | 24.LOLER Inspection |  |  | √
25.PUWER Inspections |  | A | 26.Height Safety/Equipment/Inspection |  | √ | 27.Harness Inspection |  |  | √
28.Plant Operation |  | A | 29.Noise-Control & hearing Protection |  | √ | 30. Tower Scaffold/Set Up |  |  | √
31.Leading Edges |  | √ | 32.Personnel Training Records(cscs etc) |  | √ | 33.Toolbox Talks |  |  | √
34.P.P.E-Onsite Usage |  | √ | 35.Housekeeping |  | √ | 36.Acess/Egress On Site |  |  | √
37.Hot Works/Safety/permits |  | √ | 38.Smoking |  | √ | 39. COVID |  |  | √
General Comments & Future Guidance: |  |  | The two sites were generally in good order with control measures for Covid 19 well
developed and control measures defined in documentation evidenced throughout the site. Equipment checks are still not being carried out as
required by the teams in the arrivals hall (4th time). Audit was conducted with client management and company management team.
Site Description: The site was a mixture of building styles from victorian to maybe mid-2000's, with pigeon waste, asbestos
and work at height being the main hazards at the moment with the station currently being closed. Work areas were generally well defined and
clearly understood and personnel were following defined processes for Covid 19. Good supplies of drinking water and arrangements made by
senior management to mitigate heat issues with fans in the roof areas identify that personnel safety is a priority for the company.
Page 2 of 2 | Job Detail: 20_1009_01 |  | Address: | 164 Buckingham Palace Road, London SW1W 9T
Site Manager |  | Roger Stacey |  |  | Date | 2020-07-09
Recieved By: |  | Ben Killick, Sam Killick, Roger Stacey |  |  | Signature
Hazard Description |  | Cordless drill battery charger found without PAT in the arrivals hall. It is clear that personnel are still not
GA16, GA25 |  | checking their equipment before use in this area. This is the 4th visit identifying the issue that personnel are
not checking their equipment prior to use and are just ticking boxes on PUWER checksheets
Recommendations |  | Deatailed spot checks to be carried out to ensure pre-use and periodic inspections are carried out as are
legally required. Personnel found not carrying out such tests, aftre 3 previous audits and issued warnings,
to be initially sent home before returning to be re-inducted and training carried out to ensure understanding
Priority |  | S |  | A | B |  | C
Actions Taken |  | Battery charger has been PAT tested. Spot checks will be carried out.
Hazard Description |  | MEWP's are being driven in the arrivals hall without relevant banksman in attendance as per the RAMS
GA28
Recommendations |  | All MEWP's to only be driven if a banksman is in attendance. Personnel to be given TBT on safe MEWP
operating procedures and warned further non-compliance may result in removal from site.
Priority |  | S |  | A | B |  | C
Actions Taken |  | Tool box talk undertaken after briefing meeting on 25/06/20

## Sheet2
Third visit where PAT and equipment checks within the FOURTH visit where PAT and equipment
checks within the arrivals hall has been an issue, personal battery charger plugged in untested
photo 1, all other equipment in use had been checked.
All three MEWP's within the arrivals hall were found operating without Banksmen